## March
Cold work Permit No. | Hot Work Permit No | Issued for Day = 1 | Work Description | Date issued | Module Number | Area Authority | Date Completed | SSIC | EPM | ESEC | Lock Out Box No | work continuing under Permit No
43047 |  | 0 | Energise welding socket #7 | 26/02/15 | 21 | prod | 2015-02-26
43259 |  | 0 | Charge N2 Bottles | 2015-03-13 | 22 | prod | 20/3/15
43072 |  | 0 | Replace defective lighting on LG for Pre Treater | 2015-03-01 | 62 | prod | 2015-03-02
| 35032 | 0 | Check an energise the tank LG Lighting | 2015-03-05 | 62 | prod | 2015-07-03
| 2247 | 2 | Test and energise treater transformer level switch | 2015-03-19 | 62 | prod
| 34724 | 2 | Replace level transmitter with SIL Approved level transmitter on LP Degasser | 2015-03-21 | 62 | prod | 23/3/15 | 34724 | 805 |  | 16
40658 |  | 0 | Pull Cable from T62LST0411/0611 treater transformormer LST | 2015-03-22 | 62 | prod | 22/3/15
| 34674 | 1 | Run new cables and terminate to UPS B distribition board | 2015-03-23 | 62 | prod
42916 |  | 0 | to take gas sample | 25/02/15 | 63 | prod | 2015-03-03
43217 |  | 0 | Take PVT sample P2 | 2015-03-03 | 63 | prod | 2015-03-03 | 43217
| 34656 | 0 | To install new cam and cam valve on the actuator of T74-SDV-6908 | 2015-03-04 | 63 | prod | 2015-04-03
| 35009 | 0 | Check and energise level guage lighting | 2015-03-12 | 63 | prod | 13/03/15
43257 |  | 0 | Interlock system function check on export gas pig launcher | 2015-03-12 | 63 | prod | 2015-12-03
| 2232 | 0 | amos routines on F&G on TS 63 | 2015-03-16 | 63 | maint | 16/3/15 | 306/307/308/309
40651 |  | 2 | Install gasket on T24LST1206 upper flange on IGFU | 2015-03-22 | 63 | prod | 23/3/15 | 40651 |  | 808 | 16
42957 |  | 0 | Chemical decanting | 2015-03-07 | 75 | prod | 2015-09-03
| 2213 | 0 | Check I/O Fail alarm on VRU T71PSI7126 | 2015-03-08 | 75 | prod | 2015-08-03 | 298
| 34670 | 0 | Check and energize tank level guage sight glass lighting | 2015-03-08 | 75 | prod | 2015-12-03
| 35021 | 0 | Check solenoid valve for T75-SDV-1136 on IGC A | 2015-03-12 | 75 | prod | 13/03/15
| 2599 | 0 | F&G AMOS checks | 2015-03-10 | 264 | prod | 2015-10-03 | 486
| 2597 | 0 | F& Gas routine AMOS testing | 2015-03-09 | 265 | prod | 2015-10-03 | 481
| 34652 | 0 | Carry out modification on hydraulic panel on Test Manifold HIPPS Valves (Hydraulics) | 2015-03-02 | 266 | prod | 2015-04-03 |  | 43333 |  | 11
| 34655 | 0 | Carry out modification on hydraulic panel for Production HIPPS SDV's | 2015-03-03 | 266 | prod | 2015-04-03 |  | 43336 |  | 11
43194 |  | 0 | Install and test Netherlocks on P4 Pig Launcher and reiever | 2015-03-06 | 266 | prod | 2015-09-03
| 2598 | 0 | F&G routines on 266 | 2015-03-09 | 266 | prod | 2015-09-03 | 482
| 34676 | 0 | Check and calibrate PT on Pig launcher P4 | 2015-03-10 | 266 | prod | 2015-12-03 |  | 320 |  | 4 | LTI 20
| 2221 | 0 | Investigate cross loop of P3 / P5 Pig launcher PT's | 2015-03-12 | 266 | prod | 2015-12-03
| 2231 | 0 | F&G Amos inspections | 2015-03-15 | 266 | Prod | 16/3/15 | 499 / 500
40592 |  | 0 | carry out pressure test on P3 service line | 2015-03-16 | 266 | prod | 16/3/15
7324 |  | 0 | Secure loose pipe clamp on pancake | 25/02/15 | 267 | prod | 2015-03-04
43152 |  | 0 | Install Missing flap pin in pig detector - non intrusive | 2015-03-01 | 267 | prod | 2015-03-08
43201 |  | 0 | Take oil sample on P2 | 2015-03-02 | 267 | prod | 2015-08-03
43231 |  | 0 | Sample P2 | 2015-03-09 | 267 | prod | 15/3/15 |  |  |  |  | cwp 43280
| 2596 | 0 | F&G AMOS checks | 2015-03-10 | 267 | prod | 2015-10-03 | 485
| 34700 | 0 | Implement DCF 872 on riser PST5205 | 2015-03-15 | 267 | Prod | 18/3/15 | 34700
43280 |  | 0 | P2 Oil Sampling | 2015-03-16 | 267 | prod | 22/3/15 |  |  |  |  | cwp 40661